We managed to release the firmware update with the requested changes:

1. Default configuration changed to "Jump" for the "Page scrolling" feature.

2. LCD switch with the PC screen as discussed.

3. Since this is a new release, we changed the software version to 1.01. You can view the software version on LCD in the following way:

- Press Menu button to enter in the menu

- Select Service menu from the menu list.

- Select Software info from the Service menu list.

In the attachment you will find 1 files:

1. PB507_v101.bin - the binary file used for update through USB interface.

For the firmware update you need to use the PB507 PC software. First you need to put the trainer in device firmware update (DFU) mode, then install the USB drivers for the DFU mode, and after that, you can perform the update using the Firmware Upgrade Wizard from the PC software. The firmware upgrade procedure is described in the help of the PC software. You can read in the operation manual how to put the trainer in device firmware upgrade mode.